CIP Messages References

#### Ethernet

| 1756-ENET IP Information | 18606 |
| --- | --- |
| 1756-ENBT, -EWEB, -EN2T IP Information | 26779 |
| Configure CompactLogix EtherNet IP Address | 27917 |
| 1756-ENET Diagnostic Counters | 18181 |
| ENBT, EWEB, EN2T Diagnostic Counters | 22421 |
| ENBT Media Counters | 31234 |
| ENBT Baud and Duplex | 21751 |
| ENBT Link Status | 22261 |
| OK LED Status | 33686 |
| 1756-ENBT Forcing Baud and Duplex | 24540 |
| 1756-ENBT Host Name | 31238 |
| 1756-ENBT Change to Static, BOOTP or DHCP | 55369 |
| 1756-ENBT CPU Utilization | 26893 |
| 1756-EN2T, -EN2F, -EN2TR CPU Utilization | 62758 |
| 1756-ENBT and -EN2T counting open connections | 51701 |
| 1756-EN2x(R) TCP and CIP connections | 452063 |
| 1756-EN2x(R) to be a GrandMaster | 636390 |
| Device-Level Ring (DLR) Diagnostic Information | 452172 |
| Clear the DLR rapid ring fault | 494704 |
| Refreshing the DLR participants list | 516448 |
| Reset the connection manager counters of 1756-ENxT | 516406 |
| Obtain MAC address | 57586 |
| Turn on/off time synchronization on 1756 Ethernet module | 495148 |
| Point I/O adapters - Set chassis size | 28877 |
| Status of power A and B connection of Stratix managed switch | 646165 |

#### ControlNet

| Flex Rack Modules List Information | 19092 |
| --- | --- |
| Node Number | 19053 |
| CNx(R) CPU Utilization | 18645 |
| Channel LED Status | 18423 |
| OK LED Status | 33686 |
| Local CNB node address | 25592 |
| ControlNet diagnostic and cable redundancy status | 16584 |
| CIP messages to 1747-SCNR | 19612 |
| Resetting PLC5 diags counters on ControlNet | 21834 |
| Resetting ControlNet Diagnostic Counters | 41650 |
| Point I/O adapters - Set chassis size | 28877 |

#### Data Highway Plus / Remote I/O

| Data Highway Plus Diagnostics | 18310 |
| --- | --- |
| Remote I/O remote rack retry counters | 20185 |
| Data Highway Plus node address | 17743 |
| Data Highway Plus active node table | 17690 |
| Remote I/O status object | 17747 |
| OK LED Status | 33686 |
| Data Highway Plus Getting and Clearing Diagnostic Counters | 29909 |

#### DH-485

| Active DH-485 Nodes | 60810 |
| --- | --- |

#### DeviceNet

| DNB explicit message example | 16568 |
| --- | --- |
| DNB Explicit message to PanelView example | 17384 |
| Accessing 1788-EN2DN Run, Idle, Input and Output data with explicit message | 16568 |
| Flex Rack Modules List Information | 562746 |

#### Processor

| Program Edits in Progress | 23378 |
| --- | --- |
| Program Download in Progress | 23376 |
| Program Name | 23341 |
| Date and Time | 20055 |
| Mode Change (Run / Program) | 19395 |
| Change the Periodic Task execution interval | 19591 |
| Clear Major Fault from remote controller | 19971 |
| Retrieve controller free memory | 19706 |
| Writing controller log to removable media card | 854076 |
| Getting controller extended memory information | 454394 |
| Run/Program mode and keyswitch position status | 779392 |
| Change quantity of unconnected buffers (UCB) | 21192 |
| Serial Port Configuration | 588835 |
| Change serial port from User to System | 20247 |
| Unconnected Buffers | 19993 |
| OK LED status, Keyswitch position | 26924 |
| Changing the Serial Port Control Line | 27150 |
| Firmware revision, Serial #, keyswitch position | 28917 |
| SNN (Safety Network Number) from GuardLogix controller | 34097 |

#### Redundancy

| Initiate Switchover, Disqualify/Synchronize Secondary Chassis | 573972 |
| --- | --- |
| Set Redundancy module Time | 57158 |
| 1756-RM2 Fiber Channel Status | 618675 |

#### I/O Modules

| 1794-VHSC CIP messages | 20318 |
| --- | --- |
| Flex I/O modules with LGX, ControlNet and no profiles before 11.xx | 20057 |
| Resetting Diagnostic Latch bits | 25103 |
| Resetting electronic fuses on Output module | 19639 |
| Obtaining Calibration Data (1756-IR6I, -IT6I) | 27136 |
| Obtaining Calibration Data (1756-IF16) | 25620 |
| Point I/O adapters - Set chassis size | 28877 |

#### SERCOS Modules

| Ring Current Phase Status | 26687 |
| --- | --- |

#### Condition and PowerMonitoring

| Reset Latched Relay on XM module | 714542 |
| --- | --- |
| Reading Voltage and Current from a Powermonitor 500 | 864075 |

#### All Modules

| DeviceWHO (List Identity) |  | 55301 |
| --- | --- | --- |
| Serial Number |  | 52870 |
| Reset Module to Factory Defaults |  | 55362 |
| Sub-minor revision |  | 491323 |
| W |  |  |